ASAS-SN Plugin for VStar

Description: This plugin allows you to open text files in the formats of the All-Sky Automated Survey for Supernovae (ASAS-SN).

Data files can be generated using the ASAS-SN Sky Patrol website or downloaded from the ASAS-SN Photometry Database or  ASAS-SN Variable Stars Database. The format of precomputed data files, loaded from ASAS-SN Photometry and ASAS-SN Variable Stars databases, differs from one generated by the Sky Patrol. The plugin loads files of both formats.

ASAS-SN Sky Patrol data

ASAS-SN Sky Patrol data are computed in real-time using aperture photometry for a point on the celestial sphere for which ASAS-SN images exist. Go to Sky Patrol website, enter the coordinates of a target and the number of days to go back, then press [Compute]

The calculations may take a while. When calculations succeed, you will be redirected to the result page.

Press the [CSV] button under “Export Data” and save the CSV file to disk. The file contains V and g bands data, as seen from the preview plot.

From VStar, select [New Star from File...] from the [File] menu and then select “ASAS-SN” in the “Source” dropdown list. Go to the location of the saved file and open it.

The following dialog will appear:

Currently, ASAS-SN light curves can contain data for V and g bands. Some observations in a file can be marked as unreliable (“5 sigma/excluded observations”); they can be excluded by unchecking the corresponding checkbox. A user can limit the maximum allowed uncertainty (“Exclude observations having an error greater than” field).

Select the data you need (let’s assume you have selected data for V band only) and press OK. VStar will show you a light curve:

Here is the phase plot for the star (it is an eclipsing binary with a period of 1.095355 days:

Precomputed ASAS-SN Light Curves

Other sources for ASAS-SN light curves are ASAS-SN Photometry Database and ASAS-SN Variable Stars Database. Those databases contain ready-to-use light curves in a format that differs from one produced by Sky Patrol. The plugin loads files of both formats.

To download a light curve, go to one of the databases and enter the coordinates and the search radius (for both databases) or ASAS-SN variable name (for the Variable Star Database). If precomputed curves exist, they will be listed. Do not load the data via [Download CSV Dataset] button (the format is currently not supported by the plugin). Instead, click on one of the curves’ IDs.

You will see a new window with a preview plot. Click on the [CSV] button under “Export Data” to download a file. This file can be opened by the plugin in the same way as described above.

Maksym Pyatnytskyy (PMAK)

Rev C

2023-04-02

Revision History

| Rev | Date | Description |
| --- | --- | --- |
| C | 2023-04-02 | Updated according to the last plugin’s revision |
| B | 2020-04-26 | Open Dialog image added |
| A | 2020-04-17 | Initial Release |